## Market Inquiry
MARKET INQUIRY – GOSPIĆ BURIED WASTE
Non-binding questionnaire ¦ Respondents may answer for the full scope, one or more lots, or as a joint group
IMPORTANT – JOINT SUBMISSIONS AND CAPACITY SHARING ARE ENCOURAGED
Price and the shortest feasible completion period are the primary market-sounding factors. A respondent may combine several licensed treatment facilities, carriers and specialist contractors. Clearly identify the lead entity, each participant, allocated tonnage, monthly capacity, interfaces and consolidated completion date. Partial-capacity responses are welcome.
ID | QUESTION / REQUIRED INFORMATION | RESPONDENT’S ANSWER | UNIT / FORMAT | MANDATORY | EVIDENCE / ATTACHMENT | CONFIDENTIAL? | NOTES / ASSUMPTIONS
A1 | Legal name, registered address and registration/VAT number |  | Text | Yes | Company extract
A2 | Primary contact person, function, e-mail and telephone |  | Text | Yes
A3 | Response structure: single respondent / consortium / subcontracting / coordinated multi-facility solution |  | Select + explanation | Yes | Organisation chart
A4 | Lead entity responsible for the integrated solution and single point of responsibility |  | Text | If joint | Draft teaming structure
A5 | All consortium members, subcontractors, carriers and receiving facilities, including country |  | Table | If applicable | Letters of intent
B1 | Scope proposed: complete end-to-end service / treatment only / transport only / other |  | Select | Yes
B2 | Maximum total quantity the response can accommodate |  | tonnes | Yes | Capacity confirmation
B3 | Firmly reservable monthly receiving/treatment capacity |  | tonnes/month | Yes | Facility confirmation
B4 | Minimum economically viable lot size |  | tonnes | Yes
B5 | Can the respondent accept phased or variable monthly deliveries? State constraints. |  | Yes/No + details | Yes
B6 | Proposed allocation of the indicative 32.915 tonnes by facility and month |  | Schedule table | Yes | Facility letters
B7 | Earliest mobilisation/start date following contract effectiveness |  | Date + weeks | Yes
B8 | Earliest date for first cross-border shipment after complete notification dossier |  | Date / weeks | Yes
B9 | Estimated date for completion of all proposed services and final treatment |  | Date | Yes | Integrated programme
B10 | Critical path and main measures proposed to shorten the delivery period |  | Narrative | Yes | Programme / Gantt
C1 | Receiving facility name, exact address, operator and competent authority |  | Text | Yes | Permit copy
C2 | Permitted recovery/disposal operation(s): R1, D10, D5, D12 or other |  | Code + description | Yes | Current permit
C3 | Treatment technology and process flow proposed for each waste fraction |  | Narrative | Yes | Process diagram
C4 | Permitted waste codes and hazardous properties accepted; identify exclusions |  | Codes / list | Yes | Permit annex
C5 | Acceptance limits: chlorine/halogens, calorific value, moisture, TOC/DOC, metals, particle size and other relevant parameters |  | Table of limits | Yes | Acceptance specification
C6 | Ability to accept mixed technogenic waste with confirmed HP14 and elevated Cu, Pb and Sb |  | Yes/No + conditions | Yes | Technical assessment
C7 | Required pre-treatment: sorting, screening, blending, stabilisation, solidification, shredding, dewatering or other |  | Narrative | Yes
C8 | Required packaging: bulk, sealed walking-floor, containers, drums, big bags or other |  | Specification | Yes
C9 | Required additional sampling, analyses and acceptance testing before binding offer |  | Test list / standards | Yes
C10 | Maximum dimensions, density, foreign objects and prohibited materials |  | Limits | Yes | Acceptance specification
D1 | Proposed excavation and on-site handling method, if included |  | Narrative | If included | Method statement
D2 | Dust, runoff, odour, fire, infectious-material and worker-protection controls |  | Narrative | If included | HSE plan outline
D3 | On-site temporary storage and daily dispatch capacity |  | tonnes/day | If included | Layout / method
D4 | Transport mode and route from Gospić to each receiving facility |  | Road/rail/sea + route | Yes | Logistics plan
D5 | Number and type of vehicles/containers available and maximum daily dispatch |  | Number + tonnes/day | Yes | Fleet evidence
D6 | Licensed carriers and ADR capabilities |  | List | Yes | Licences / ADR evidence
D7 | Contingency for border delays, rejected loads, breakdowns and facility outages |  | Narrative | Yes | Contingency plan
E1 | Applicable cross-border shipment procedure and proposed notifier |  | Narrative | Yes | Relevant experience
E2 | Estimated preparation and authority-processing time for prior written notification and consent (PNTC) |  | Weeks | Yes | Assumptions
E3 | Can pre-consented facility status or another accelerated route be used? Provide basis and validity. |  | Yes/No + evidence | Yes | Pre-consent decision
E4 | Competent authorities of dispatch, transit and destination anticipated |  | List | Yes
E5 | Maximum quantity and validity period proposed per notification |  | tonnes / months | Yes
E6 | Financial guarantee requirements and party proposed to provide the guarantee |  | EUR + party | Yes | Calculation basis
E7 | Required contract, movement-document and recovery/disposal certificate arrangements |  | Narrative | Yes
E8 | Experience with comparable cross-border hazardous-waste shipments in the last five years |  | References | Yes | Reference sheets
F1 | All-inclusive price for the complete proposed scope, excluding VAT |  | EUR/tonne + total EUR | Yes | Price breakdown
F2 | Treatment/gate fee by receiving facility and waste fraction |  | EUR/tonne | Yes | Price breakdown
F3 | Excavation, sorting, pre-treatment and packaging price, where offered |  | EUR/tonne | If offered | Price breakdown
F4 | Transport and logistics price by route/facility |  | EUR/tonne | Yes | Price breakdown
F5 | Notification, testing, guarantees, taxes and other regulatory costs |  | EUR / basis | Yes | Price breakdown
F6 | Price adjustment triggers: composition, chlorine, moisture, calorific value, density, packaging or other |  | Formula / thresholds | Yes
F7 | Validity period of indicative pricing |  | Days | Yes
F8 | Potential price reduction for larger lots or coordinated joint allocation |  | EUR/tonne or % | No
G1 | Proposed performance security, insurance and liability limits |  | EUR / % | Yes | Evidence
G2 | Conditions precedent and information required before a binding offer can be issued |  | List | Yes
G3 | Key commercial, technical, permitting and schedule risks |  | Risk register | Yes
G4 | Proposed risk allocation and principal contract qualifications |  | Narrative | Yes
G5 | Alternative technical or commercial solution that could materially reduce price or completion time |  | Narrative | No | Supporting analysis
G6 | Confirmation that the response is non-binding and provided for market-sounding purposes |  | Confirmed / exceptions | Yes
JOINT / MULTI-FACILITY CAPACITY ALLOCATION
Participant / facility | Country | Operation and technology | Allocated quantity (t) | Monthly capacity (t/month) | Earliest first receipt | Completion date | Lead / subcontractor

## Gospić Basis
GOSPIĆ – PROJECT BASIS FOR MARKET SOUNDING
Publicly documented summary; the complete expert finding, supplement and laboratory annexes must govern technical acceptance
PARAMETER | INDICATIVE VALUE / FINDING | SOURCE BASIS | USE IN INQUIRY | STATUS | CAUTION
Location | Industrial complex, Bilajska 50, Gospić, Croatia | GFV expert finding published by USKOK | Defines collection point | Documented | Confirm exact excavation areas and access conditions
Estimated waste mass | Approximately 32.915 tonnes | Public summary of GFV finding | Capacity and schedule basis | Indicative | Subject to survey, excavation and weighing
Waste description | Mixed technogenic: wastepolymer/plastic-organic fractions, fine-grained technogenic material, mineral and construction components; mixed with soil/stone (known waste codes: 19 12 11*, 18 01 03*, 18 01 04, 19 12 12, 17 05 04) | Public summary of GFV finding | Acceptance screening | Documented summary | Full waste-code allocation and fraction distribution required
Hazardous property | HP14 – ecotoxic; reported as materially above threshold | Public summary of GFV finding | Facility permit and acceptance check | Documented summary | Use analytical annexes for calculation and classification
Copper in affected soil / samples | Reported maximum 9,946 mg/kg | Public summary of GFV finding | Risk and treatment screening | Indicative maximum | Confirm sample ID, matrix and dry-matter basis
Lead in affected soil / samples | Reported maximum 1,051 mg/kg | Public summary of GFV finding | Risk and treatment screening | Indicative maximum | Confirm sample ID, matrix and dry-matter basis
Antimony | Reported approximately 300 times typical soil level | Public summary of GFV finding | Acceptance and leaching-risk screening | Qualitative summary | Use original analytical result and applicable limit
Approximate affected area of the plateau/ Affected vegetation/habitat area | Approximately 14.267 m² /17.796 m² | Public summary of GFV finding | Site logistics and HSE context | Indicative | Not a direct excavation-volume measurement
Hydrogeology | Piezometer B1 indicates connection with the waste body; contaminant migration may occur | Public summary of GFV finding | Runoff, groundwater and sequencing controls | Documented summary | Detailed hydrogeological model required
Impact zone | Greatest reported influence within 50 m; reduced but measurable up to 200 m | Public summary of GFV finding | HSE and monitoring perimeter | Indicative | Not a substitute for remediation design
Preferred procurement structure | Full scope, lots or joint multi-facility solution | Market-sounding strategy | Maximise capacity and shorten delivery | Working assumption | Final procurement structure remains open
Primary market factors | Total price and shortest legally feasible completion period | User requirement | Response evaluation | Confirmed | Technical and legal compliance remain mandatory
SOURCE AND IMPORTANT LIMITATION
Sources: USKOK, 6 August 2026 – https://uskok.hr/hr/priopcenja/priopcenje-uskok-s-obzirom-na-velik-interes-javnosti-u-vezi-s-rezultatima-provedenog . The 14.267 m² area and approximately 41.374 m³ volume are approximate interpretations reported from the expert findings, not final measured quantities. The separate approximately 17,796 m² figure concerns vegetation removal / habitat degradation. All quantities require confirmation through detailed survey, investigation, excavation records and weighbridge data. https://www.fzoeu.hr/hr/obavijest-o-provodjenju-analize-trzista-za-nabavu-usluge-zbrinjavanja-zakopanog-otpada-u-gospicu-faza-3/10793.